## Slide 1: South Orange Water Utility Sale
COMMUNITY MEETING
WEDNESDAY, SEPTEMBER 25, 2024

## Slide 2: PANELISTS
South Orange Village
Sheena Collum, Mayor
Douglas Newman, Chair, Water Utility Task Force (unable to attend)
Julie Doran, Village Administrator
Howard Levison, Water Administrator
Chris Battaglia, CFO
Clyde Otis, Village Attorney
New Jersey American Water Representatives

## Slide 3: COMMUNITY MEETING AGENDA
What prompted considering selling the Village’s water utility?
Why have this community meeting?
About South Orange’s Water Utility
  Infrastructure
  Water supply
  Operations & maintenance
  Finances
  Capital improvement plan
Background and process
NJ American Water proposal
Recommendation to the community
NJAW introductions & company background
Questions

## Slide 4: WHAT PROMPTED CONSIDERING SELLING THE VILLAGE’S WATER UTILITY?
Cost and financial impact of state-mandated identification and replacement of lead/galvanized lines and direct costs to property owners.
Long-term utility debt, currently $18.3M, coupled with Capital Improvement Plan (CIP) to address aging infrastructure requires additional ~$50 million investment over next 10 years.
New Jersey American Water (NJAW) indicated it won’t provide Operations and Management (O&M) services after its agreement expires mid-2026.
Village anticipates cost increases to its bulk water purchased from NJAW, due to stricter environmental and testing regulation.

## Slide 5: WHY HAVE THIS COMMUNITY MEETING?
After a 2+ year, extensive review, South Orange’s Village Council adopted Ordinance #2024-15 to advance the sale of Village’s water system – subject to a public referendum/vote.
In November’s general election, South Orange voters will be asked:
    “Shall South Orange Village, in the County of Essex, New Jersey, be authorized to sell its water distribution and transmission system (commonly known as the “System”) to New Jersey American Water Company Inc. for the sum of $19,700,000?” __ Yes / __ No
This community forum will provide an in-depth look at the process, analysis, and ultimate recommendation, asking voters to approve the sale.

## Slide 6: ABOUT SOUTH ORANGE’S WATER UTILITY

## Slide 7: SOUTH ORANGE WATER UTILITY
  Infrastructure
  Water supply
  Operations & maintenance
  Finances
  Capital improvement plan

## Slide 8: INFRASTRUCTURE
5,000 service locations
3,000 water valves
600 fire hydrants
75 miles water mains (oldest early 1900’s)
3 water storage facilities (3.7M gallons)
  Main reservoir (1912) – South Orange Ave
  Standpipe (1950’s) – Newstead
  Water sphere (1952) – Newstead
3 pressure zones – controlled by pumping stations & supplied by storage facilities
  Low-pressure zone
  High-pressure zone
  Mountain zone

## Slide 9: WATER SUPPLY
The Village does not have its own water supply; the majority of the Village water has been purchased for almost 30 years.
Purchased from NJAW since 2017, based on rates set by NJ Board of Public Utilities.
Water treated at NJAW’s state-of-the-art Millburn facility, regulated by NJ Department of Environmental Protection (DEP).

## Slide 10: OPERATIONS & MAINTENANCE (cont’d)
Since 2016
    In 2016, the Village terminated EOWC contract
    The Village engaged NJAW to provide bulk water supply (up to 60 years) and all O&M (10 years)
    Village outsources infrastructure engineering, repairs, replacements, and work
    Village employees
      Part-time water utility administrator
      Share of other employees’ time (1.25 FTE)
    Village Council approves water rates and Capital Improvement Plans (CIP)
PLACEHOLDER

## Slide 11: FINANCES
Self-liquidating rate structure  rates set annually to cover expenses. As expenses (including debt service) increase, rates must increase.
$5.67 million revenue
$5.24 million expense
  $4,184K operations & maintenance (79.9%)
  $895K debt service (17.1%)
  $144K salary & wages (2.7%)
  $16K statutory expense (0.3%)
$0.43 million surplus
$18.3 million debt

## Slide 12: FINANCES (cont’d)

## Slide 13: CAPITAL IMPROVEMENT PLAN
$6.5M Crest Drive Standpipe replacement & infrastructure upgrades
$2.0M Lead Line identification & replacement
$1.5M Newstead/Brentwood Water Tank rehabilitation
$1.5M Infrastructure upgrades
$1.5M Water Main replacements
$1.25M Capital Improvements & Repair/Replacements (CIRR)
Near-term $14.25 million; long-term (10 years) $50 million

## Slide 14: BACKGROUND AND PROCESS

## Slide 15: PROCESS & TIMELINE
November 2021 – System valuation completed and provided to Village Council.
September 2022 – S.O. Water Utility Task Force established (Resolution #2022-VP04) with elected officials, employees, and community volunteers
    “…evaluate the most efficient and cost-effective structure to deliver high-quality and safe water to the residents and stakeholders in South Orange and, in performing that evaluation, to consider (without limitation) capital investments, consequential water rate(s), staffing, operations, maintenance, alternative ownership structures and potential sale of the utility to a private regulated utility”
November 2023 – Task Force issued its ‘Report of Findings’ to Village Council
March 2024 – Village Council adopted Resolution #2024-096: “Resolution Deeming It Advisable to Consider the Sale of the South Orange Water Utility and System and Authorizing Advertisement for Bids for the Sale of Same.”
Note: Winter 2022 to now, Village apprised residents about ongoing process – through quarterly Gaslight newsletter (mailed to every home), Village website, press releases, and Village Council meetings.

## Slide 16: PROCESS & TIMELINE (cont’d)
June 2024 – Bids received from two, major regulated water companies
  Veolia: $12.5M + additional considerations
  NJAW: $19.7M + additional considerations
July 2024 – Village Council adopted Ordinance #2024-15: “An ordinance of South Orange Village Advancing the Sale of the Village’s Water System and Authorizing a Proposal to be Printed on the Ballot for Consideration by the Voters within the Village at the General Election on November 5, 2024
September-October 2024 – Community meetings and public education
November 5, 2024 – General Election referendum
Note: Winter 2022 to now, Village apprised residents about ongoing process – through quarterly Gaslight newsletter (mailed to every home), Village website, press releases, and Village Council meetings.

## Slide 17: WATER UTILITY TASK FORCE’S FINDINGS
Task Force’s investigation supported by Remington & Vernick Engineers' Water & Wastewater Division – retain vs. sell water system
Option 1: Retain Village ownership scenarios – assumed NJAW continues supplying water under long-term agreement, at least through 2075
  Scenario 1: Continue outsourcing O&M to third party
  Scenario 2: Provide in-house O&M with Village personnel
  Scenario 3: Hybrid using Village personnel and third-party contractors
Option 2: Sell the system to regulated, third-party provider
  Researched regulatory process
    Voter referendum or
    Water Infrastructure Protection Act
  Researched experience of other New Jersey municipalities – recent sales & adjacent communities
  Held informal discussions with regulated water companies
Notes: I’d like to take a moment to talk about the findings of the task force. Took a deep dive into the assignment. Their work was supported supported by the RVE analysis and worked to understand the financial and regulatory implications, interviewed other communities who have sold their utilities and
Option 1 Scenario 1 lots of variability meter reading, billing, examples but finding a licensed system operator is a difficult position to fill, especially for a smaller municipality.
Option 2: 2 options VC decided to pursue the referendum option

## Slide 18: NJAW PROPOSAL

## Slide 19: PROPOSAL OVERVIEW
$19.7 million purchase price – eliminate all water utility debt ($18.3M) and ~$1.4M general municipal debt
Infrastructure investment – $50 million over 10 years; $35 million in first five years
Lead line replacement – full compliance with identification & comprehensive replacement on both utility and customer side
Rate predictability – phased-in increases totaling 9% over first five years (vs. historically 5% annually in South Orange)
  Years 1-2: no increases
  Years 3-5: 3% increases
  Years 6-15: rates eventually converge with NJAW statewide rates
  NJ BPU regulates all rates and changes

## Slide 20: REFERENDUM CONSIDERATIONS
‘Yes’ vote = sell
  Investment – $69.7 million = $19.7M purchase + $50M upgrades
  Purchase price statutorily required to eliminate water utility debt; excess then applied to reduce municipal debt
  Lead line replacement – comprehensive and timely; cost allocated across NJAW’s entire customer base
  Rate stability – predictable and regulated rate increases; only 9% in initial five years, then converging with rates in adjacent municipalities
  Infrastructure improvements – modernized and upgraded water system
  Water-related Village properties converted taxable ratables
  Similar to West Orange, Maplewood, Millburn, and Irvington
  ‘No’ vote = retain ownership
  Projected rate increase – 74% over next 5 years
  Capital improvements – major investments required to maintain & upgrade
  Identify new, qualified O&M provider or increase staffing by ~12 employees
General Election: November 5, 2024

## Slide 21: RETAINED WATER UTILITY BUDGET PROJECTION
Chart: Projected Water Budget with Retained Ownership + Capital Plan
| 2025 | 2026 | 2027 | 2028 | 2029
Scenario 1 Outsourced O&M | 5115000 | 6533000 | 7174000 | 7633000 | 8019000
Scenario 2 In-house O&M | 5115000 | 6958000 | 7048000 | 7610000 | 7996000

## Slide 22: MUNICIPAL ASSUMPTIONS
NEW SLIDE
NEW SLIDE
Water Comes from NJAW
Outsource O&M
  2026 RFP
  SOV Water Utility Staffing
    New Costs: Year 1 & 2 ($605,000), Year 3+ ($498,750)
  1 FT Executive Director, Staff Engineer, Administrative Assistant (Billing, Communications, Customer Service, etc.)
  Year 1 & 2 only: Consulting Engineers
Operating Expenses
  - New Costs: $54,000 for Office Space/Professional Services, IT & Software
Capital Improvement Plan
  $50M (Same in options 1, 2, or 3)
Scenario 1 (If Retained: Most likely)

## Slide 23: MUNICIPAL ASSUMPTIONS
NEW SLIDE
NEW SLIDE
  Water Comes from NJAW
  Provide In House O&M & terminate 3rd Party Contract
  SOV Water Utility Staffing
  $1.65M in Personnel
Operating Expenses
  $3.94M
Capital Improvement Plan
  $50M (Same in options 1, 2, or 3)
Scenario 2 (If Retained: Not Likely)

## Slide 24: MUNICIPAL ASSUMPTIONS
NEW SLIDE
NEW SLIDE
Scenario 2 Staffing Sample
(If Retained: Not Likely)

## Slide 25: MUNICIPAL ASSUMPTIONS
NEW SLIDE
NEW SLIDE
Scenario 3 Staffing (If Sold to NJAW)

## Slide 26: WATER RATE PROJECTION
Chart: Annual Water Cost for an Average User
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15
Village Cost Under Scenario I | 1160 | 1566 | 1722.6 | 1843.182 | 1935.3411 | 2012.7547 | 2093.2649 | 2176.9955 | 2264.0754 | 2331.9976 | 2401.9575 | 2449.9967 | 2498.9966 | 2548.9766 | 2599.9561
Village Cost Under Scenario II | 1160 | 1670.4 | 1703.808 | 1823.0746 | 1914.2283 | 1990.7974 | 2070.4293 | 2153.2465 | 2239.3763 | 2306.5576 | 2375.7544 | 2423.2695 | 2471.7348 | 2521.1695 | 2571.5929
NJAW @ 3% | 1081.4982 | 1113.9431 | 1147.3614 | 1181.7823 | 1217.2357 | 1253.7528 | 1291.3654 | 1330.1064 | 1370.0096 | 1411.1098 | 1453.4431 | 1497.0464 | 1541.9578 | 1588.2166 | 1635.8631
NJAW Cost Under Sale | 1160 | 1160 | 1160 | 1194.8 | 1230.644 | 1267.5633 | 1308.4855 | 1349.4077 | 1390.3299 | 1431.2521 | 1472.1743 | 1513.0965 | 1554.0187 | 1594.9409 | 1635.8631
*The average South Orange customer uses 9,000 gallons of water per month. After a six-year set-rate schedule, NJAW would slowly increase the South Orange Village rate to match the NJAW rate.
NJAW Cost in NJ

## Slide 27: EXHIBITS

## Slide 28: Exhibit 1A: WATER SYSTEM FACILITIES INVENTORY

## Slide 29: Exhibit 1B: WATER SYSTEM WATER MAINS INVENTORY

## Slide 30: Exhibit 1C: WATER SYSTEM MAIN VALVES INVENTORY
Valves

## Slide 31: Exhibit 1D: WATER SYSTEM FIRE HYDRANT INVENTORY

## Slide 32: RECOMMENDATION TO VOTERS
VOTE YES